## Slide 1: Image Physics

## Slide 2
Radio Stimulus
Proton Interaction in Tissues
H20
H20
H20
Delay
49.99%
50.01%
Excited State
Reception
49.99%
50.01%
Equilibrium State
49.99%
50.01%
Equilibrium State
hu

## Slide 3: Principles of Iron Measurement
T2* = half life
R2* = rate = 1000/T2*

## Slide 4
Electron Microscopy: Cellular iron size distribution
11 um
0.9 um
20 patients ( 1.4 – 57.8 mg/g )
20 snapshots each, 9000x
With increase in iron burden,
  peak shifts to the right and area of the distribution increases  particles get larger and are greater in number.
Ghugre N, et al, J Microscopy 238(3):265-2724, 2010

## Slide 5
Inter-particle distance, Inter-cellular variation
Ghugre N, et al, J Microscopy 238(3):265-2724, 2010

## Slide 6
Virtual Liver Model
Cuboidal environment (80 µm side)  mimic liver tissue.
64 hepatocytes, 20 µm side cubes (approximation to hexagonal hepatocyte shape).
10 µm diameter cylindrical sinusoids (~6% by volume).
Portal tracts were neglected.
Spherical iron particles were assigned to hepatocytes and sinusoids based on inter-compartment prevalence.
Distribution was based on size, cellular anisotropy and inter-particle distances according to GDF’s.
Sphere were placed in a non overlapping manner.

## Slide 7
Final MRI calibration predicted by model
Particle size characterization
Inter-cellular iron anisotropy
Inter-particle distance
Sinusoids
Restricted motion
12 %
- 16 %
Ghugre et al, Mag Res Med, 65(3):837-847, 2011

## Slide 8: Model Validation (3T vs 1.5T)
Storey et al., JMRI 25:540-7, 2007
y = 2x-35
R2 = 0.9986
p < 0.0001
Ghugre, et al, Mag Res. Med, 74(3):879-83, 2015
R2* doubles at 3T
y = 1.47x-2.2
R2 = 0.9958
p < 0.0001
R2 is 47% higher at 3T