## Slide 1: Signal Analysis

## Slide 2: Outline
Pixelwise vs ROI
Signal decay model
Rician noise
Fitting approaches
Appropriate calibration curves
Available software tools
Freeware demonstration

## Slide 3: Pixelwise vs ROI based
For homogeneous iron distribution, ROI based methods are more accurate.
With non-homogeneous iron distributions, ROI based methods will underestimate true iron.
Even if using an ROI based method, quick pixelwise mapping can help delineate boundaries.
X
X
X
X
X
R2* (Hz)

## Slide 4: ROI versus Pixelwise in Heart
Ghugre et al, JMRI, 2006

## Slide 5: Signal decay
SI =ρ(1-exp(-TR/T1)) sinθexp(-TE/T2*) /(1-cosθ exp(-TR/T1))
Since only TE is changing between echoes this ->
SI = A exp (TE/T2*) (2 components)
In the presence of significant partial volume effects
SI = A1 exp (TE/T2*1) + A2 exp (TE/T2*2) (4 components)
If T2*2 is >> TEmax
SI = A1 exp (TE/T2*1) + A2 (3 components)
T2* of blood, bile >> liver

## Slide 6: Rician Noise
All MRI images have noise that becomes important for late echoes
MRI noise is “Rician” which means that it is non-zero

## Slide 7: Correct Fitting
Heart and liver contain both high iron and low iron containing tissues.
Signal decay curves have a dominant “Fast” and a small “Slow” component.
Four ways to compensate:
Truncate the fit after a few points (2 DOF).
Fit both the “Fast” and “Slow” components (4 DOF).
Assume the slow component is roughly “Constant” (3 DOF).
Fit in the complex plane (or filter in the complex plane).

## Slide 8: Use of truncation
Simple
Most commercial software use this approach
Only valid when partial volume effects are small
  Keep your ROI’s peripheral in the liver
Truncation point is subjective
Vulnerable to fat-water interactions

## Slide 9: Existing Software Tools
Medis, https://www.medis.nl/apps/t2t2star
CMR Tools, http://www.cmrtools.com/cmrweb/ThalassaemiaToolsIntroduction.htm
Circle 42, https://www.circlecvi.com/features/T2Star-map.php
GE Starmap, http://www3.gehealthcare.co.uk/~/media/documents/us-global/products/advanced-visualization/product%20spec%20sheets/starmap-40/gehc-datasheet_aw-starmap-40.pdf?Parent=%7B9A72788E-F4D0-46C4-9E37-9BDDC05F280F%7D
Siemens Myomaps, https://www.healthcare.siemens.com/magnetic-resonance-imaging/options-and-upgrades/clinical-applications/myomaps

## Slide 10: Where to draw heart ROI
Full thickness boundaries (like doing LV function)
Septum only
Pull back from RV hinge points by ~ 5 mm
Can examine late echoes for susceptibility artifact.
Porta-caths and excessive respiratory motion can lower T2*

## Slide 11: Where to draw liver ROI
For Mapping
Trace whole liver contour
Avoid aorta and major hilar vessels
For ROI with Truncation
Find echo time with contrast
Trace outer 1-2 cm

## Slide 12: Demonstration
http://www.isodense.com/ic
TE | Signal
1 | 411
1.7 | 378
2.4 | 351
3.1 | 335
3.8 | 317
4.5 | 299
5.2 | 279
5.9 | 261
6.6 | 244
7.3 | 229
8.0 | 215
8.7 | 202
TE | Signal
1 | 298
1.7 | 202
2.4 | 147
3.1 | 104
3.8 | 76.8
4.5 | 54.4
5.2 | 40.2
5.9 | 27.4
6.6 | 20.9
7.3 | 15.5
8.0 | 14.4
8.7 | 13.0
TE | Signal
1 | 87.8
1.7 | 24.6
2.4 | 12.9
3.1 | 11.2
3.8 | 12.7
4.5 | 12.0
5.2 | 9.5
5.9 | 11.6
6.6 | 10.0
7.3 | 8.4
8.0 | 8.7
8.7 | 8.3
T2* = 11.0 ms
T2* = 2.1 ms
T2* < 0.6 ms
SI = 87.8
SI = 340

## Slide 13: Effects of fat
TE | Signal
1 | 432
1.7 | 380
2.4 | 357
3.1 | 366
3.8 | 368
4.5 | 323
5.2 | 351
5.9 | 312
6.6 | 308
7.3 | 305
8.0 | 292
8.7 | 279
T2* = 20.9 ms
TE | Signal
1 | 218
1.7 | 105
2.4 | 59.4
3.1 | 148
3.8 | 188
4.5 | 169
5.2 | 100
5.9 | 35.2
6.6 | 76.2
7.3 | 114
8.0 | 109
8.7 | 75.2
T2* = 12.8 ms

## Slide 14: How do we get an iron value ?
Acquisition
Calibration Curves
LIC Value
T2* or R2*
Analysis

## Slide 15: Use the right calibration curve
Meloni et al, BJH, 2014

## Slide 16: Calculation from 1.5 T data
File is called “1.5T Calibration”

## Slide 17: Review for Truncation
ROI
  Peripheral in liver (1-2 cm thick)
  Full thickness septal in heart
Truncate
  Optimize fit for the early echoes
  Remember the effects of fat
Sanity Check
  If the tissue is dark in the first image, beware !
Use the correct equation
  The Garbowski equation is correct for truncated model

## Slide 18: Questions?